## Slide 1: Direct Detection of the Dark Matter: Germanium detector Internal Amplification(GeIA) (Battle between “liquid Ne-77K” and “He-4K”)
*Chih-Hsiang Yeh, Tsz-King Henry Wong
Institute of Physics, Academic Sinica (IoPAS)
August 21, 2019

## Slide 2: Before the talk….
Detector project – Cryogenic knowledge
Filled with “Solid-State Physics”
Try my best to explain the jargon well.

## Slide 3: Outline – Qualitative and Quantitative
The principles of our experiment
The issues we are engaging in
The conclusion and prospect

## Slide 4
Predicted by gravitation:
The velocity of the stars
Inconsistent with the existing law
Missing mass in our universe!
Weakly Interacting Massive Particles(WIMPs)
WIMPs
Purity: Ge
Impurity: Be, Al, Ga, (3A)-hole. “P-type detector”
electron
hole
E-h generated
Mechanism:
(1)Excitation
(2)Ionization
+
-
Drifted in the crystal
Reach through region
(Low E region)
Avalanche region
(High E region)
Give out many electrons
G(T,E…)
Amplification

## Slide 5: Examples from other people

## Slide 6: Clarification(Solid-State Physics)
 | Excitation (Ionization) -Ge | Ionization -Impurities
4K | 3.3eV | 0.01eV
77K | 3.0eV | 0.01eV
e-h pair
e-ion pair
(e-h pair)
*In our topic, we call them “Ionization” and “e-h pair” totally
 The one energy that can produce e-h pair
The energy to produce E-h pair

## Slide 7: Issue?
4K
I have the low background!
Liquid Helium
77K
Liquid Nitrogen
I’m easy to be achieved!
Versus
Winner or Loser?
(Beijing Tsing-Hua University)

## Slide 8: Non-trivial issues
Breakdown voltage
Leakage current
…….
Many issues at there!
At the beginning, we start at “Gain” without other noises!

## Slide 9: Gain factor
How do we know about the gain?
 We need to know about the number of e-h pair we can produce!
*Ionization rate
 How many e-h pairs will be produced during the avalanche region?

## Slide 10: Parameter(1): Mean free path
*Definition:
How far the electron(hole) can run without colliding with others
(Relaxation time) * (velocity)

## Slide 11: Parameter(2): Relaxation time
How long the electron(hole) can run without colliding with others
Formula:
(1)(mobility) =
(2)m*(Effective mass): bounded electron (F=m*a)
 Use effective mass to do the approximation
 electron* = 0.21*(free e- mass), hole* = 0.12*(free e- mass)
(3)e(Charge constant)

## Slide 12: Parameter(3): Velocity

## Slide 13: Parameter(4): Ionization rate
Important point: (1) Mean free path (2)Ionization energy

## Slide 14: Results – Ionization rate(1/cm)
How many e-h can be produced per centimeter?
Hole’s rate is bigger than electron’s for both of the temperature
*P-type detector ( Benefit )
(2) At 4K, the rates of both electron and hole are bigger than 77K individually.
*4K is the winner in this case.
(3) We need to use at least to drive the Ge electron and hole if this case happens.

## Slide 15: Conclusion and Prospect
For the ionization rate of the Ge electron and hole
 4K is bigger than 77K for both of them.
We need to use more than to drive the Ge electron and hole
Next step:
(1) Figure out the ionization rate of the impurities
(2) Jump into the real point contact detector
 Use the real electric field in the detector to figure out the gain.

## Slide 16: BackUp

## Slide 17: Nuclear recoil
Dark matter
Nuclear
Dark matter
Nuclear
Nuclear recoil (scattering off)
NR
After nuclear recoil
 It will collide with electrons and atoms
Non-SM Weak interaction
t
Electrons  e-h pairs
(Effective ionization energy)
Electronic stopping of heavy ion
Atoms phonons
Nuclear stopping of heavy ion
eV
Event rate dependent
Fake-Feynman diagram of DM-Nuclear scattering
- dependent
Focus!

## Slide 18: Electron recoil
Dark matter
Electron
Dark matter
Electron
Electron recoil (scattering off)
ER
After the electron recoil
 It will collide with electrons
Non-SM Weak interaction
t
Electrons  e-h pairs
(Effective ionization energy)
eV
Event rate dependent
No phonon basically! Can’t give nuclear much energy
Too big….
Come on!
e
Nuclear
Fake-Feynman diagram of DM-electron scattering
Focus!

## Slide 19
Different DM Mass
Different Recoil energy
Different Relative event rate!
GeV to MeV dark matters